## 2 YR STM - 10 min TC R1
STORM SEWER DESIGN SHEET
Project - | [6 empty] | Design Storm - | 5 Year Storm, IDF Curve for Lindsay | [7 empty] | Mannings "n" |  |  |  |  | Designed By - |  | JN
Municipality - | [6 empty] | A = | 1214 | [6 empty] | pvc/ | concrete | 0.013 |  |  |  | Date -
Project No. - | [6 empty] | B = | 9 | [12 empty] | Sheet -
[7 empty] | C = | 0.847
Location of Section | Area | From Upstream | To Downstream | Tributary Area | Runoff Coefficient | Individual A x C | Cumulative Area | Cumulative A x C | Time of Concentration | Rainfall Intensity | Peak Flow | Manning's "n" | Slope | Max Capacity | Diameter | Length | Full Flow Velocity | Full Flow Capacity | Actual Velocity | Time of Flow | Calculated Pipe Diameter | % Full | Time of Conc. to Next Section | TOTAL LENGTH OF PIPE SIZES
|  | MH # | MH # | Aa | Ca | Aa x Ca | A=Sum Aa | A x C= | Tc | i | q |  | S | 0.85 | D | L | vf | Q | va | t=L/60xva | d |  | tf=Tc+t | 300 | 375 | 450 | 525 | 600 | 675 | 750 | 825 | 900 | 1050 | 1200 | 1400
|  |  |  | ha |  |  | ha | Sum Aa x Ca | min | mm/hr | m3/s |  | m/m |  | mm | m | m/s | m3/s | m/s | min | mm | % | min
| A1 | CB 1 | CBMH 2 | 0.17 | 0.8 | 0.136 | 0.17 | 0.136 | 10 | 100.2569 | 0.037875 | 0.013 | 2.2% | 300 | 300 | 35 | 2.0291 | 0.14343 | 1.6038 | 0.36371 | 182.0112 | 26.4064 | 10.3637 | 35
| A2 | CBMH 2 | CBMH 4 | 0.22 | 0.9 | 0.198 | 0.39 | 0.334 | 10.3637 | 98.6596 | 0.091534 | 0.013 | 0.5% | 375 | 375 | 42 | 1.1225 | 0.12398 | 1.1225 | 0.6236 | 334.5474 | 73.8315 | 10.9873 |  | 42
[24 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[23 empty] | total length | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[23 empty] | diameter | 300 | 375 | 450 | 525 | 600 | 675 | 750 | 825 | 900 | 1050 | 1200 | 1400
[24 empty] | LOOKUP TABLE |  |  | LOOKUP TABLE
[24 empty] | FOR EQUIVALENT |  |  | FOR EQUIVALENT
[24 empty] | ELLIPTICAL PIPE |  |  | ELLIPTICAL PIPE
[24 empty] | CONCRETE |  |  | CSP
[24 empty] | Circular Pipe Diameter | Equivalent Elliptical Pipe Size |  | Circular Pipe Diameter | Equivalent Elliptical Pipe Size
[24 empty] | D | h x b |  | D | h x b
[24 empty] | mm | mm |  | mm | mm
[24 empty] | 900 | 735 x 1145 |  | 1000 | 820 X 1150
[24 empty] | 1050 | 865 x 1345 |  | 1200 | 970 X 1390
[24 empty] | 1200 | 965 x 1525 |  | 1400 | 1120 X 1630
[24 empty] | 1350 | 1090 x 1725 |  | 1600 | 1260 X 1880
[24 empty] | 1500 | 1220 x 1930
[24 empty] | 1650 | 1345 x 2110
[24 empty] | 1800 | 1475 x 2310
[24 empty] | 1950 | 1600 x 2490
[24 empty] | 2100 | 1725 x 2690
[24 empty] | 2400 | 1955 x 3075
[24 empty] | 3000 | 2465 x 3835
Engineering & Corporate Assets Department
City of Kawartha Lakes
P.O. Box 9000, 322 Kent Street West
Lindsay ON K9V 5R8
Tel: 705-324-9411
Toll Free: 1-888-822-2225